{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":24,"n_cols":3,"rows_kept":24,"flags":["formulas_cached_only"]}
["试剂名称","规格","备注"]
["碱性清洗液","1L"]
["酸性清洗液","1gallon"]
["样品稀释液","2*500测试"]
["系统检测液","6*4ml"]
["样品稀释液A","2*32.9ml，4ml/瓶"]
["总甲状腺素校准品","校准品0（S0）-校准品5（S5）， 4.0 mL/ 瓶/水平"]
["总三碘甲状腺原氨酸校准品","S0-S5, 4.0 mL/ 瓶"]
["游离甲状腺素校准品","S0-S5,2.5 mL/瓶"]
["游离三碘甲状腺原氨酸校准品","S0-S5: 2.5 mL/ 瓶"]
["促甲状腺激素校准品","校准品0（S0）-校准品5（S5），2.5ml/瓶"]
["甲状腺球蛋白抗体校准品","S0,4.0 mL/瓶;S1-S5,2.5 mL/瓶"]
["抗甲状腺过氧化物酶抗体校准品","S0-S5:2.0ml/瓶"]
["总β亚单位人绒毛膜促性腺激素校准品","S0-S5:4.0ml/瓶"]
["黄体生成素校准品","S0-S5:4.0ml/瓶"]
["促卵泡生成激素校准品","S0-S5:4.0ml/瓶"]
["泌乳素校准品","S0：4.0ml/瓶；S1-S5：2.5ml/瓶"]
["雌二醇校准品","S0-4 mL/瓶; S1-S5- 2 mL/瓶"]
["孕酮校准品","S0：4.0ml/瓶；S1-S5：2.5ml/瓶"]
["睾酮校准品","S0-S5:2.5ml/瓶"]
["清洗液","1*10L"]
["清洗液","4*1950ml"]
["反应杯","8000个/箱"]
["全自动免疫检验系统用底物液","4x130mL"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}